## Sheet1
Part 2: Wavelength of Laser
| Count of min (\pm sqrt) [LEFT] | Count of min (\pm sqrt) [RIGHT] | \Delta s \pm .5 um | +x towards wall on left when walking in,+y away from door, +z is the roof
| 30 | 30 | 10.5 |  | after the first measurement we moved the screen in -y
| 34 | 34 | 10.5 |  | every delta s should be 10.5
| 35 | 35 | 11.5 |  | red laser! | in reality it is green
| 50 | 51? | 16.5 |  | error in counts is sqrt n because standard deviation
| 50 | 51? | 17 |  | make sure phase shift is in the right units and that we are counting trough to trough
| 47 | 49 | 17 |  | jonah counted 49 for the right projection
| 80 | 80 | 22.5 |  | note: limited by the setup. the last measurement is the best one so far
trust the arcminutes! |  |  |  |  | counting fringes corresponds to change in path length!
start angle (degrees, arcmin if known) | Part III: Refractive Index | using thorlabs cr1 rotational stage | \pm 1 because human eyeballs and small tick marks |  | lots of realigning. Jonah and Carlos have pictures of the rotational stage.
| Count of min (\pm sqrt) [LEFT] | Count of min (\pm sqrt) [RIGHT] | top number (angle degrees) | bottom number (arcminutes) | plexiglass should be co-rotating
0 | 8 | 8 | 2 | ? | t is the thickness of the plexiglass
-0.5 | 13 | 14-15 | 3 | 25 | get the part number of the rotational stage
-0.5, -10 | 15 | 15 | 2 | 20 | THROUGHOUT THIS SHEET WE ARE COUNTING THE NUMBER OF MINIMA
0, -10 | 17 | 17 | 3 | 35
0, -5 | 16 | 16 | 3 | 30
Part IV
just write down your expectations. couldn't get a measurement. Need a collimator to better align as well as more time.